## Slide 1: Park Amenity Condition Assessment Fiscal Year 2016
Public Works Department
Park and Recreation Department
Park and Recreation Board
Agenda of March 16, 2017

## Slide 2: Department
Status Update
Scope of Assessments
Methodology (terms, groupings)
FY16 PCA Results
  75 Community, Neighborhood and Mini Parks
  Balboa Park
Park Amenity Condition Assessment
Introduction
Public Works Department
Park and Recreation Department
Proposed Service Level
Next Steps
San Ysidro Athletic Area
(Larsen Field)
Kennedy Neighborhood Park
Old Trolley Barn Neighborhood Park

## Slide 3: Department
Developed Parks to Assess
249 parks equaling
  2,675 assessed acres (developed areas)
Consultant: Kitchell CEM
FY 16 Assessments
  76 Parks
    1,252 acres assessed – 47%
    111 playgrounds
    202 courts
    98 acres of parking lots and park roads
  Field data collected along with photo documentation
  As-Built drawings reviewed
Assessed Park Locations
Public Works Department
Park and Recreation Department
Park Amenity Condition Assessment
Overview

## Slide 4: Department
Assessment of existing developed park assets
  Detailed assessment of all above grade assets.
    Park Roads, Parking Lots, Pedestrian Paving, Playgrounds, Playing Fields and Courts, Park Furnishings, Fences, Walls, Landscaping, Above-Ground Storm Drain
  Cost projections for maintenance and capital renewal
  GIS Mapping of park assets
Assessments do not include:
  Underground Assets and Electrical Systems
  Irrigation
Park Amenity Assessment complementary with:
  Facility Condition Assessments
  Stormwater Assessments
  Future Parks Master Plan
City Heights Community Park
Public Works Department
Park and Recreation Department
Lomita Neighborhood Park
Park Amenity Condition Assessment
Scope of Assessments

## Slide 5: Department
PCI: Park Condition Index
  Condition Range specified by City of San Diego (Consistent with the FCI ranges for the Building Assessments)
  Lower PCI - better condition, Higher PCI – poorer condition
  Current Maintenance Backlog: The accumulation of subsystem deficiencies
  Capital Replacement Backlog: The accumulation of subsystems that have reached the end of their useful life.
  Plant Replacement Value (PRV): cost to replace assessed assets in kind.
  PCI = Cost of Maintenance Backlog + Cost of Capital Backlog Plant Replacement Value (PRV)
PCI Condition Ratings |  | Examples
Good | 0 - 20 | Nobel Athletic Area (9) MLK Community Park (8)
Fair | 21 - 29 | South Clairemont Community Park (26) Dusty Rhodes Neighborhood Park (27)
Poor | 30 or Above | Allied Gardens Community Park (32) Keiller Neighborhood Park (36)
Public Works Department
Park and Recreation Department
Park Amenity Condition Assessment
Methodology and Terminology

## Slide 6: Department
Example of Good Condition:
Martin Luther King Jr. Community Park
  Council District 4
Asphalt needs repairs
Pedestrian Paving needs repairs
Playground in
good condition
Landscaping in good condition
Martin Luther King Jr. Community Park
Good Condition – Minor Improvements Needed
PCI 8
Major Systems affecting PCI:
  Parking lots – need repairs
  Pedestrian Paving – needs repairs
  Playground – good condition
  Landscaping – good condition
Public Works Department
Park and Recreation Department
Park Amenity Condition Assessment

## Slide 7: Department
Example of Fair Condition:
La Jolla Community Park
  Council District 1
Playground surfacing
in need of repairs
Pedestrian paving needs repair
Retaining wall
needs repairs
Outdoor courts in
good condition
La Jolla Community Park
Fair Condition – Some Significant Repairs Needed
PCI 29
Major Systems affecting PCI:
  Outdoor courts – good condition
  Retaining Wall – need repairs
  Playground – needs replacement
  Pedestrian paving – needs repair
Public Works Department
Park and Recreation Department
Park Amenity Condition Assessment

## Slide 8: Department
Example of Poor Condition:
Pacific Beach Community Park
  Council District 2
Site Retaining Wall
needs repairs
Asphalt needs replacement
Playground beyond useful life
Landscaping needs repairs
Pacific Beach Community Park
Poor Condition – Major Repairs Needed
PCI 36
Major Systems affecting PCI:
  Playgrounds – needs replacement
  Pedestrian Paving– needs major repairs/replacement
  Landscaping – needs repairs
  Retaining Wall - needs repairs
Public Works Department
Park and Recreation Department
Park Amenity Condition Assessment

## Slide 9: Department
Methodology: Group Parks by Function
Parks Types by Function |  | 
Regional Parks | Regional asset, tourist destination, special natural feature | Balboa Park Mission Bay Park Chicano Park
Community Parks | Serve a population of approx. 25,000 residents | Passive and active recreation, rec. centers, aquatic complex
Neighborhood Parks | Serve a population of approx. 5,000 residents | Passive recreation, playgrounds, picnic areas
Mini Parks | Serve residents within ½ mile | Playgrounds, picnic areas
Public Works Department
Park and Recreation Department
Note: Mission Bay Park & 25 additional community and neighborhood parks are scheduled to be assessed in FY2017.
Park Amenity Condition Assessment

## Slide 10: Department
Methodology: Parks Assessed by Asset Type
Assets within the Parks | 
Playgrounds | Park Furnishings
Landscaping | Fences and Walls
Above-Ground Storm Water Devices | Pedestrian Paving
Playing Fields | Parking Lots
Outdoor Courts | Park Roads
Cypress Canyon Neighborhood Park
Clay Neighborhood Park
Doyle Community Park
Public Works Department
Park and Recreation Department
Park Amenity Condition Assessment

## Slide 11: Department
Methodology: Define Reliability Levels
Reliability Levels by Park Subsystem |  | 
Level 1 Operations Impacts | Level 2 Deterioration | Level 3 Appearance
Playgrounds | Parking Lots | Landscaping
Athletic Fields | Park Roads | Park Furnishings
Pedestrian Walkways | Above-Ground Stormwater Devices | Fences and Walls
Outdoor Courts |  | Signage
Grant Hill Neighborhood Park
Emerald Hills Neighborhood Park
Jerabek Neighborhood Park
Public Works Department
Park and Recreation Department
Mountain View
Neighborhood Park
Park Amenity Condition Assessment

## Slide 12: Department
Results: Summary of PCI’s
Public Works Department
Park and Recreation Department
Park Amenity Condition Assessment
Park Type | No. Parks Assessed | Acres Assessed | Number of Parks in Each Rating Category | AVG. PCI
Regional Parks | 1 | 416 | 1 - Good | 5: Good
Community Parks | 39 | 586 | 28 - Good 8 - Fair 3 – Poor | 15: Good
Neighborhood & Mini Parks | 36 | 250 | 19 - Good 4 - Fair 13 – Poor | 21: Fair
Total Number of Parks Assessed | 76 | 1,252 | 48 - Good 12 - Fair 16 - Poor | 16: Good

## Slide 13: Department
Asset Function | No. Parks Assessed | Acres Assessed | Reliability Level 1 Operations Impacts* | Level 2 Deterioration* | Level 3 Appearance*
Regional Parks | 1 | 416 | $4.8M | $6.9M | $46K
Community Parks | 39 | 586 | $53.7M | $18.3M | $4.3M
Neighborhood and Mini Parks | 36 | 250 | $27.3M | $4.2M | $2.0M
Total | 76 | 1,252 | $85.8M | $29.4M | $6.3M
Results: Backlog by Reliability Level
Reliability Level Subsystems | Playgrounds | Parking Lots | Landscaping
 | Athletic Fields | Park Roads | Park Furnishings
 | Pedestrian Walkways | Above-Ground Stormwater Devices | Fences
 | Outdoor Courts |  | Signage
Southcrest Community Park
Public Works Department
Park and Recreation Department
* Numbers reflect amounts to reach an overall PCI of 0. Necessary Reinvestment does not include capital renewal, improvements, expansion, or upgrades.
Park Amenity Condition Assessment

## Slide 14: Department
PCI of 15 “Good” – All Parks – 76 Parks Assessed
1. Necessary Reinvestment does not include capital renewal, improvements, expansion, or upgrades.
Public Works Department
Park and Recreation Department
It is not Industry Best Management Practice for agencies to improve existing facilities to a $0 backlog. Adopting an appropriate Service Level defines the acceptable backlog for the portfolio.
Note: All numbers are in 2016 dollars
Results: Proposed Service Level – PCI 15
Park Amenity Condition Assessment
Asset Function | No. Parks Assessed | Acres Assessed | Avg. PCI | Goal PCI | Necessary Reinvestment to Obtain a PCI of 15 for 76 Parks
Regional Parks | 1 | 416 | 5: Good | 15: Good | $0
Community Parks | 39 | 586 | 15: Good | 15: Good | $13.1M
Neighborhood and Mini Parks | 36 | 250 | 21: Fair | 15: Good | $11.7M
Total for PCI of 15 | 76 | 1,252 | 16: Good | 15: Good | $24.8M1

## Slide 15: Department
Asset Function | No. of Buildings Assessed* | Avg. PCI | Goal PCI | Necessary Investment to Obtain FCI of 15**
Regional Parks | 118 | 19: Good | 15/20: Good | $79.2M
Community Parks | 101 | 10: Good | 15: Good | $45.4M
Neighborhood and Mini Parks | 25 | 10: Good | 15: Good | $1.7M
Total for PCI of 15 | 244 | 24: Fair | 15: Good | $126.3M
Public Works Department
Park and Recreation Department
1. Necessary Reinvestment does not include capital renewal, improvements, expansion, or upgrades.
* Number of Buildings Assessed refers to only the number of buildings on the same property as the 76 parks assessed.
** Numbers reflect only the buildings located on the same property as the 76 parks.
A separate assessment was performed on buildings throughout the City of San Diego
  Building presentation: Previously reported.
Results: Buildings Located at the FCI 15/20 for 76 Parks
Park Amenity Condition Assessment

## Slide 16: Department
Public Works Department
Park and Recreation Department
Combined Park and Building Numbers for the 76 Parks
Note: All numbers are in 2016 dollars
Necessary Reinvestment does not include capital renewal, improvements, expansion, or upgrades.
Numbers reflect only the buildings located on the same property as the 76 parks
FCI/PCI 15 applies to Public and Semi-Public categories
FCI/PCI 20 applies to City offices and work-yards
Results: Buildings & Parks Combined FCI/PCI 15 for 76 Parks
Park Amenity Condition Assessment
Asset Function | Building: Reinvestment For FCI 15/20 For 76 Parks* | Parks: Reinvestment For PCI 15 For 76 Parks | Goal FCI/PCI | Total Necessary Reinvestment to Obtain a FCI/PCI of 15/20 For 76 Parks
Regional Parks | $79.2M | $0 | 15/20: Good | $79.2M
Community Parks | $45.4M | $13.1M | 15: Good | $58.5M
Neighborhood and Mini Parks | $1.7M | $11.7M | 15: Good | $13.4M
Total for FCI/PCI of 15/20 | $126.3M | $24.8M | 15/20 Good | $151.1M

## Slide 17: Department
Key Study Concepts & Findings
Service Level Changes Affect the Results
  Lower PCI = Higher Costs
  Small PCI changes can result in significant cost changes
Some park subsystems can have a significant affect on the overall PCI score.
  A playground replacement in a mini park
  Playground replacement and major parking lot repairs in a community park
Asset Management Plan needed to develop total costs
  Approved Service Level needed to analyze and recommend maintain vs. rehab vs. replace decision
  Maintain/rehab/replace schedule determines total cost
Rolling Hills Neighborhood Park
Palm Ridge Neighborhood Park
Public Works Department
Park and Recreation Department
Park Amenity Condition Assessment

## Slide 18: Department
Next Steps: Future Efforts and Updates
Mission Bay Park as well as 25 Other Parks to be Assessed in FY2017
  Currently being assessed
Continue park assessments through FY2020
Expand assessments to joint use & open space facilities & Irrigation Systems after FY2020
Develop asset management plan to work with IAM San Diego and SAP
San Ysidro Community Park
Memorial Community Park
Public Works Department
Park and Recreation Department
Park Amenity Condition Assessment

## Slide 19: Department
Questions?
Bay Terraces Community Park
Public Works Department
Park and Recreation Department
Westview Neighborhood Park
Ward Canyon Neighborhood Park
Rancho Bernardo Community Park
Adobe Bluffs Neighborhood Park
Canyonside Community Park
Carmel Mountain Community Park
North Park Community Park
Tecolote
Community Park
Colina Del Sol Community Park